Instructions for waking up and demo-ing the ereader:

- Turn “On”, the front button on the right side.

  - It will do an ascending tone, and the display will cycle through a few times. (It says “starting in braille). It will do another ascending tone and then stop. It may give one short tone again.

- Push the middle round button, it will shift once.

- Push the down arrow button underneath it, to change the display.

  - Repeat to cycle through the menu options.

- Turn it off by the button behind the on button and hear a descending tone.